## SST (UC)
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | PANTONIX TABLE 20 MG
Reference Substance: | Pantoprazole Sodium Sesquihydrate
% age Purity: | 93.3
Weight (mg): | 20.04
Standard Conc (mg/mL): | 0.2004
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 142280637 | 9129.3 | 1 | 7.6
2 | 142217027 | 9041.7 | 1 | 7.6
3 | 142245743 | 8997.4 | 1 | 7.6
4 | 142342668 | 8954.7 | 1 | 7.6
5 | 142427743 | 8896.6 | 1 | 7.6
6 | 142401431 | 8889.4 | 1 | 7.6
Averages: | 142319208.1667 | 8984.85 | 1 | 7.6
RSD: | 0.05997%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is NMT 10%
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO/JOYFRIDA |  |  | 28/06/2016
Reviewed By:

## Pantoprazole Acid Stage
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PANTONIX TABLE 20 MG
Laboratory Ref No: | NDQD2016061202 | 36
Active Ingredient: | Pantoprazole
Label Claim: | Each tablet contains Pantoprazole Sodium 20mg
Date Analysis Started: | 2016-06-24
Date Analysis Completed: | 2016-06-25
Analysis Data
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 405.35 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 432.4 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93744 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 142294679 | 162365892.0535 | 168763871 | 164706617.9782
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 142220253 | 162280967.9792 | 168924877 | 164863753.2322
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 142293490 | 162364535.3404 | 168620842 | 164567027.5391
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 142269474 | 162337131.791 | 168769863.3333 | 164712466.2498
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.04 |  | 23.43
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.7863 |  | 21.9643
Standard Dilution Factor | 100 | Purity correction (mg): | 17.5277 |  | 20.4927
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.17528 |  | 0.20493
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 21.3346
|  | Average Normalised Response: | 163524799.0204
|  | RSD: | 0.7979%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains Pantoprazole Sodium 20mg
Each Tablet contains | 20 | Pantoprazole
Average Tablet Content Weight (mg): | 113.688
Initial Sample dilution (mL): | 100 | Tablet No. | Peak Area: | Actual Content | Content as % of the average content | Content as % of Label Claim
1st Dilution Standard transfer Volume (mL: | 1 | 1 | 157484671 | 19.2613 | 101.6898 | 96.3063
1st Dilution Standard Final Volume (mL): | 1 | 2 | 152653401 | 18.6704 | 98.5702 | 93.3518
2nd Dilution Standard Transfer Volume (mL): | 1 | 3 | 152680491 | 18.6737 | 98.5877 | 93.3684
2nd Dilution Standard Final Volume (mL): | 1 | 4 | 158785302 | 19.4203 | 102.5296 | 97.1017
3rd Dilution Standard Volume (mL: | 1 | 5 | 155308537 | 18.9951 | 100.2846 | 94.9755
3rd Dilution Standard Final Volume (mL): | 1 | 6 | 153451380 | 18.768 | 99.0854 | 93.8398
4th Dilution Standard Transfer Volume (mL): | 1 | 7 | 150340604 | 18.3875 | 97.0768 | 91.9375
4th Dilution Standard Final Volume (mL): | 1 | 8 | 153131496 | 18.7288 | 98.8789 | 93.6442
Standard Dilution Factor | 100 | 9 | 159927030 | 19.56 | 103.2668 | 97.7999
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | 10 | 154914596 | 18.9469 | 100.0302 | 94.7346
|  | Average tablet: |  | 18.9412 | 100 | 94.706
|  |  |  | 1.963% | 1.963% | 1.963%
|  |  |  | 10 | 10 | 10
Comment | The content of | Pantoprazole |  | in the sample as a percentage of the stated label claim is |  | 94.706
Analysis Data | Determination of the Acceptance Value (AV)
Calculation of acceptance value (AV)
| Average | 94.706
| k | 2.4
| s | 1.8592
| M | 98.5
| AV (≤ 15) | 8.2562
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 405.35 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 432.4 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 0.93744 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.3649 | 0.32432 | 0.3483 | 0.33319
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.3707 | 0.32947 | 0.3491 | 0.33395
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.3634 | 0.32299 | 0.347 | 0.33194
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.36633 | 0.32559 | 0.34813 | 0.33303
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 21.44 |  | 19.92
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 20.0988 |  | 18.6738
Standard Dilution Factor | 1666.6667 | Purity correction (mg): | 18.7521 |  | 17.4227
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.011251 |  | 0.010454
|  | Desired Concetration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 16.6667
|  | Desired Weight as salt (mg): | 17.7789
|  | Average Normalised Response: | 0.32931
|  | RSD: | 1.414%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.0056 | 0.34011 | 1.701%
1st Dilution Sample Final Volume (mL): | 20 | 2 | 0.0059 | 0.35833 | 1.792%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.0064 | 0.38869 | 1.943%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.0054 | 0.32796 | 1.64%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.0061 | 0.37047 | 1.852%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.0062 | 0.37655 | 1.883%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 1.802%
Sample Dilution Factor | 2000 |  |  | RSD: | 6.366%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Pantoprazole |  | dissolved as a percentage of the stated label claim is |  | 1.802%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | PANTONIX TABLE 20 MG
Laboratory Ref No: |  | NDQD2016061202
Active Ingredient: |  | Pantoprazole Sodium Sesquihydrate
Label Claim: |  | Each tablet contains Pantoprazole Sodium 20 mg
Date Analysis Started: |  | 2016-06-24 11:52:58
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 111.59 | -1.845%
|  | 115.43 | 1.532%
|  | 116.21 | 2.218%
|  | 111.64 | -1.801%
|  | 110.81 | -2.531%
|  | 112.6 | -0.957%
|  | 111.98 | -1.502%
|  | 115.57 | 1.655%
|  | 113.58 | -0.095%
|  | 113.94 | 0.2217%
|  | 112.07 | -1.423%
|  | 117.06 | 2.966%
|  | 111.89 | -1.582%
|  | 114.01 | 0.2832%
|  | 112.72 | -0.8515%
|  | 114.66 | 0.855%
|  | 114.71 | 0.899%
|  | 116.62 | 2.579%
|  | 112.82 | -0.7635%
|  | 113.85 | 0.1425%
| Total | 2273.76
| Average | 113.688
| Average | % Deviation from mean
| 113.688 | -7.5% | 105.1614
|  | 7.5% | 122.2146
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Pantoprazole Buffer stage
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PANTONIX TABLE 20 MG
Laboratory Ref No: | NDQD2016061202 | 36
Active Ingredient: | Pantoprazole
Label Claim: | Each tablet contains Pantoprazole Sodium 20mg
Date Analysis Started: | 2016-06-24
Date Analysis Completed: | 2016-06-25
Analysis Data
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 405.35 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 432.4 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93744 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 142294679 | 162365892.0535 | 168763871 | 164706617.9782
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 142220253 | 162280967.9792 | 168924877 | 164863753.2322
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 142293490 | 162364535.3404 | 168620842 | 164567027.5391
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 142269474 | 162337131.791 | 168769863.3333 | 164712466.2498
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 20.04 |  | 23.43
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.7863 |  | 21.9643
Standard Dilution Factor | 100 | Purity correction (mg): | 17.5277 |  | 20.4927
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.17528 |  | 0.20493
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 21.3346
|  | Average Normalised Response: | 163524799.0204
|  | RSD: | 0.7979%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains Pantoprazole Sodium 20mg
Each Tablet contains | 20 | Pantoprazole
Average Tablet Content Weight (mg): | 113.688
Initial Sample dilution (mL): | 100 | Tablet No. | Peak Area: | Actual Content | Content as % of the average content | Content as % of Label Claim
1st Dilution Standard transfer Volume (mL: | 1 | 1 | 157484671 | 19.2613 | 101.6898 | 96.3063
1st Dilution Standard Final Volume (mL): | 1 | 2 | 152653401 | 18.6704 | 98.5702 | 93.3518
2nd Dilution Standard Transfer Volume (mL): | 1 | 3 | 152680491 | 18.6737 | 98.5877 | 93.3684
2nd Dilution Standard Final Volume (mL): | 1 | 4 | 158785302 | 19.4203 | 102.5296 | 97.1017
3rd Dilution Standard Volume (mL: | 1 | 5 | 155308537 | 18.9951 | 100.2846 | 94.9755
3rd Dilution Standard Final Volume (mL): | 1 | 6 | 153451380 | 18.768 | 99.0854 | 93.8398
4th Dilution Standard Transfer Volume (mL): | 1 | 7 | 150340604 | 18.3875 | 97.0768 | 91.9375
4th Dilution Standard Final Volume (mL): | 1 | 8 | 153131496 | 18.7288 | 98.8789 | 93.6442
Standard Dilution Factor | 100 | 9 | 159927030 | 19.56 | 103.2668 | 97.7999
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | 10 | 154914596 | 18.9469 | 100.0302 | 94.7346
|  | Average tablet: |  | 18.9412 | 100 | 94.706
|  |  |  | 1.963% | 1.963% | 1.963%
|  |  |  | 10 | 10 | 10
Comment | The content of | Pantoprazole |  | in the sample as a percentage of the stated label claim is |  | 94.706
Analysis Data | Determination of the Acceptance Value (AV)
Calculation of acceptance value (AV)
| Average | 94.706
| k | 2.4
| s | 1.8592
| M | 98.5
| AV (≤ 15) | 8.2562
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 405.35 | Enter name of compound in free base form. If salt convertion is not needed enter 1.
Mwt of compound in salt form: | 432.4 | Enter name of compound in salt form. If salt convertion is not needed enter 1.
1 mg of salt is equivalent to | 0.93744 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 3 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.3532 | 0.36263 | 0.4008 | 0.35756
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.3559 | 0.3654 | 0.3991 | 0.35604
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.3557 | 0.3652 | 0.3997 | 0.35658
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.35493 | 0.36441 | 0.39987 | 0.35673
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 18.56 |  | 21.36
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 17.3989 |  | 20.0238
Standard Dilution Factor | 1666.6667 | Purity correction (mg): | 16.2332 |  | 18.6822
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0097399 |  | 0.011209
|  | Desired Concetration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 16.6667
|  | Desired Weight as salt (mg): | 17.7789
|  | Average Normalised Response: | 0.36057
|  | RSD: | 1.206%
|  | n: | 6
Medium Volume (mL): | 1000 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.319 | 17.6942 | 88.47%
1st Dilution Sample Final Volume (mL): | 10 | 2 | 0.3193 | 17.7109 | 88.55%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.3127 | 17.3448 | 86.72%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.3177 | 17.6221 | 88.11%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.32 | 17.7497 | 88.75%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.3208 | 17.7941 | 88.97%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 88.26%
Sample Dilution Factor | 2000 |  |  | RSD: | 0.9143%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Comment | The amount of | Pantoprazole |  | dissolved as a percentage of the stated label claim is |  | 88.26%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0

## SST (ASSAY)
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | PANTONIX TABLE 20 MG
Reference Substance: | Pantoprazole sodium sesquihydrate
% age Purity: | 93.3
Weight (mg): | 19.25
Standard Conc (mg/mL): | 0.1925
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 123012500 | 4537 | 1.2 | 7.9
2 | 123005066 | 4538.2 | 1.2 | 7.9
3 | 122960984 | 4525.5 | 1.1 | 7.9
4 | 123064463 | 4535.1 | 1.2 | 7.9
5 | 123372402 | 4537.3 | 1.2 | 7.9
6 | 123131606 | 4556.2 | 1.2 | 7.9
Averages: | 123091170.1667 | 4538.2167 | 1.1833 | 7.9
RSD: | 0.1216%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by: | RUTTO/JOYFRIDA |  |  | 2016-06-07
Reviewed By:

## Pantoprazole ASSAY
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PANTONIX TABLE 20 MG
Laboratory Ref No: | NDQD2016061202 | 2
Active Ingredient: | Pantoprazole
Label Claim: | Each tablet contains Pantoprazole Sodium 20 mg
Date Analysis Started: | 2016-06-30
Date Analysis Completed: | 2016-07-01
Analysis Data
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 405.35 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 432.4 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 0.93744 | free base
Initial Standard dilution (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 122858369 | 145186968.0904 | 145554034 | 145215673.3203
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 122937788 | 145280820.9057 | 145647869 | 145309290.1878
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 122904455 | 145241429.8798 | 145719929 | 145381182.6742
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 122900204 | 145236406.292 | 145640610.6667 | 145302048.7275
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 19.35 |  | 22.92
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 18.1395 |  | 21.4862
Standard Dilution Factor | 100 | Purity correction (mg): | 16.9242 |  | 20.0466
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.16924 |  | 0.20047
|  | Desired Concetration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 21.3346
|  | Average Normalised Response: | 145269227.5097
|  | RSD: | 0.04836%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each tablet contains Pantoprazole Sodium 20 mg
Each Capsule/Tablet contains | 20 | Pantoprazole
Average Capsule/Tablet Content Weight (mg): | 113.688
Initial Sample dilution (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A | 108.44 | 1 | 130669959 | 18.8607 | 94.3%
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 130661572 | 18.8595 | 94.3%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 130727809 | 18.869 | 94.35%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 113.64 | 1 | 134948110 | 18.5869 | 92.93%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 134821330 | 18.5694 | 92.85%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 134837831 | 18.5717 | 92.86%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 100 | Assay Smp C | 110.51 | 1 | 131077147 | 18.5651 | 92.83%
Desired Sample Weight (mg): | 113.688 |  |  | 2 | 131062600 | 18.563 | 92.82%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 131183331 | 18.5801 | 92.9%
|  |  |  | 4 |  | - | -
[6 empty] | Average: | 93.35%
[6 empty] | RSD: | 0.7787%
[6 empty] | n: | 9
Comment | The content of | Pantoprazole |  | in the sample as a percentage of the stated label claim is |  | 93.35%
Determination of Active Ingredient Dissolved
Reference Substance: | Pantoprazole Sodium Sesquihydrate
Code: | P11-2
% age Purity: | 93.3
% Water content: | 0 | If correction for water content is NOT needed, enter 0
% Purity corrected for water: | 93.3
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 20
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 21.3346
|  | Average Normalised Peak Area: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data: Acid Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment: | The amount of | Pantoprazole |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
Analysis Data: Buffer Stage
Medium Volume (mL): | 1 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 1 | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 | 6 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | #DIV/0!
Sample Dilution Factor | 1 |  |  | RSD: | #DIV/0!
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 0
Comment: | The amount of | Pantoprazole |  | dissolved as a percentage of the stated label claim is |  | #DIV/0!
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5