## ASSAY & DISSOLUTION
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | GLUCOPHAGE XR 1000 MG TABLET
Laboratory Ref No: | NDQD2016061240 | 29
Active Ingredient: | Metformin hydrochloride
Label Claim: | each tablets contains metformin hydrochloride USP 1000 mg as an extended release.
Date Analysis Started: | 2016-07-27 09:18
Date Analysis Completed:
Analysis Data
Reference Substance: | METFORMIN HYDROCHLORIDE
Code: | M19-4
% age Purity: | 99.19
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.19
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 52366078 | 54119638.1619 | 47811846 | 53232782.4456
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 50844598 | 52547209.0204 | 47853998 | 53279713.6652
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 51191331 | 52905552.9182 | 47991326 | 53432611.9982
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 51467335.6667 | 53190800.0335 | 47885723.3333 | 53315036.0363
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 19.51 |  | 18.11
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 19.51 |  | 18.11
Standard Dilution Factor | 100 | Purity correction (mg): | 19.352 |  | 17.9633
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.19352 |  | 0.17963
|  | Desired Concentration (mg/mL): | 0.2
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 53252918.0349
|  | RSD: | 0.9948%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | each tablets contains metformin hydrochloride USP 1000 mg as an extended release.
Each Tablet contains | 1000 | Metformin hydrochloride
Average Tablet Content Weight (mg): | 1448.463
Initial Sample dilution Volume (mL): | 250 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 10 | Assay Smp A | 729.4 | 1 | 50740092 | 946.0618 | 94.61%
1st Dilution Sample Final Volume (mL): | 100 |  |  | 2 | 50961667 | 950.1931 | 95.02%
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 51697911 | 963.9205 | 96.39%
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 732.9 | 1 | 51962854 | 964.2336 | 96.42%
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 51542734 | 956.4378 | 95.64%
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 51909522 | 963.244 | 96.32%
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 2500 | Assay Smp C | 727.4 | 1 |  | - | -
Desired Sample Weight (mg): | 724.2315 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 957.3485 | 95.73%
[5 empty] | RSD: | 0.8155% | 0.8155%
[5 empty] | n: | 6 | 6
Comment: | The content of | Metformin hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 95.73%
DISSOLUTION: | Determination of Active Ingredient Dissolved After |  | 1 hour
Reference Substance: | METFORMIN HYDROCHLORIDE
Code: | M19-4
% age Purity: | 99.19
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.19
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 100 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.459 | 0.98948 | 0.427 | 0.98135
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.463 | 0.99811 | 0.424 | 0.97446
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.459 | 0.98948 | 0.426 | 0.97905
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.46033 | 0.99236 | 0.42567 | 0.97829
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 14.03 |  | 13.16
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 14.03 |  | 13.16
Standard Dilution Factor | 2500 | Purity correction: | 13.9164 |  | 13.0534
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0055665 |  | 0.0052214
|  | Desired Concentration (mg/mL): | 0.012
|  | Desired Weight as free base (mg): | 30
|  | Desired Weight as salt (mg): | 30
|  | Average Normalised Peak Area: | 0.98532
|  | RSD: | 0.8743%
|  | n: | 6
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.253 | 256.7686 | 25.68%
1st Dilution Sample Final Volume (mL): | 250 | 2 | 0.264 | 267.9324 | 26.79%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.254 | 257.7835 | 25.78%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.252 | 255.7537 | 25.58%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.253 | 256.7686 | 25.68%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.251 | 254.7388 | 25.47%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 258.2909 | 25.83%
Sample Dilution Factor | 83333.3333 |  | RSD: | 1.872% | 1.872%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment | The amount of | Metformin hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 25.83%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 3 hours
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 3 | 1 | 0.498 | 505.4179 | 50.54%
1st Dilution Sample Final Volume (mL): | 250 | 2 | 0.467 | 473.9562 | 47.4%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.499 | 506.4328 | 50.64%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.472 | 479.0307 | 47.9%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.474 | 481.0605 | 48.11%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.48 | 487.1498 | 48.71%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 488.8413 | 48.88%
Sample Dilution Factor | 83333.3333 |  | RSD: | 2.843% | 2.843%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment | The amount of | Metformin hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 48.88%
Analysis Data: | Determination of Active Ingredient Dissolved after |  | 10 hours
Medium Volume (mL): | 1000 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 2 | 1 | 0.552 | 840.3335 | 84.03%
1st Dilution Sample Final Volume (mL): | 250 | 2 | 0.566 | 861.6463 | 86.16%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.559 | 850.9899 | 85.1%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.565 | 860.1239 | 86.01%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.563 | 857.0792 | 85.71%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.56 | 852.5122 | 85.25%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 853.7808 | 85.38%
Sample Dilution Factor | 125000 |  | RSD: | 0.9121% | 0.9121%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment | The amount of | Metformin hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 85.38%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:

## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s) | GLUCOPHAGE XR 1000 MG TABLET
Reference Substance: | Metformin hydrochloride
% age Purity: | NDQD2016061240
Weight (mg): | 19.51
Standard Conc (mg/mL): | 0.19
2016-07-05 09:17:43
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1 | 51078643 | 9113.3 | 1.2 | 5.3
2 | 50956850 | 9084.8 | 1.2 | 5.3
3 | 50865671 | 9089 | 1.2 | 5.3
4 | 50913400 | 9062.1 | 1.2 | 5.3
5 | 50877605 | 9036.1 | 1.2 | 5.3
6 | 50922332 | 9047.6 | 1.2 | 5.3
Averages: | 50935750.1667 | 9072.15 | 1.2 | 5.3
RSD: | 0.1517%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## UNIFORMITY OF WT
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | GLUCOPHAGE XR 1000 MG TABLET
Laboratory Ref No: |  | NDQD2016061240
Active Ingredient: |  | Metformin hydrochloride
Label Claim: |  | each tablets contains metformin hydrochloride USP 1000 mg as an extended release.
Date Analysis Started: |  | 2016-07-05 09:17:43
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 1436.35 | -0.8363%
|  | 1447.65 | -0.05613%
|  | 1448.79 | 0.02258%
|  | 1444.87 | -0.2481%
|  | 1459.02 | 0.7288%
|  | 1445.33 | -0.2163%
|  | 1456.88 | 0.5811%
|  | 1425.51 | -1.585%
|  | 1432.87 | -1.077%
|  | 1451.5 | 0.2097%
|  | 1436.57 | -0.8211%
|  | 1464.5 | 1.107%
|  | 1449.82 | 0.09369%
|  | 1455.51 | 0.4865%
|  | 1435.63 | -0.886%
|  | 1456.7 | 0.5687%
|  | 1443.28 | -0.3578%
|  | 1481.02 | 2.248%
|  | 1452.77 | 0.2973%
|  | 1444.69 | -0.2605%
| Total | 28969.26
| Average | 1448.463
| Average | % Deviation from mean
| 1448.463 | -5% | 1376.0398
|  | 5% | 1520.8862
| Name |  | Date | Signature
Analysed by:
Reviewed By: