## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | NOSCOR 80
% age Purity: | NDQD201708099
Weight (mg): | Drotaverine Hydrochloride 80
Standard Conc (mg/mL): | each film coated tablets contains drotaverine hydrochloride 80 mg
2017-08-02 12:40:11
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | NOSCOR 80
Laboratory Ref No: |  | NDQD201708099
Active Ingredient: |  | Drotaverine Hydrochloride 80
Label Claim: |  | each film coated tablets contains drotaverine hydrochloride 80 mg
Date Analysis Started: |  | 2017-08-02 12:40:11
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 310.57 | -0.05423%
|  | 313.4 | 0.8565%
|  | 312.52 | 0.5733%
|  | 308.69 | -0.6592%
|  | 311.52 | 0.2515%
|  | 310.3 | -0.1411%
|  | 310.53 | -0.0671%
|  | 309.32 | -0.4565%
|  | 305.69 | -1.625%
|  | 311.23 | 0.1582%
|  | 310.69 | -0.01561%
|  | 312.96 | 0.7149%
|  | 308.03 | -0.8716%
|  | 308.05 | -0.8652%
|  | 310.54 | -0.06388%
|  | 312.69 | 0.628%
|  | 313.68 | 0.9466%
|  | 313.03 | 0.7374%
|  | 310.92 | 0.05841%
|  | 310.41 | -0.1057%
| Total | 6214.77
| Average | 310.7385
| Average | % Deviation from mean
| 310.7385 | -5% | 295.2016
|  | 5% | 326.2754
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Drotaverine Hydrochloride
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | NOSCOR 80
Laboratory Ref No: | NDQD201708099 | 1
Active Ingredient: | Drotaverine Hydrochloride 80
Label Claim: | each film coated tablets contains drotaverine hydrochloride 80 mg
Date Analysis Started: | 2017-08-03
Date Analysis Completed: | 2017-08-03
Analysis Data
Reference Substance: | Drotaverine hydrochloride
Code: | D53-1
% age Purity: | 99.09
% Water content: | 2.94 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96.15
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.335 | 0.32486 | 0.362 | 0.3304
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.335 | 0.32486 | 0.359 | 0.32767 |  | 1.323%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.334 | 0.32389 | 0.359 | 0.32767
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.33467 | 0.32454 | 0.36 | 0.32858
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 21.45 |  | 22.79
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 21.45 |  | 22.79
Standard Dilution Factor | 2500 | Purity correction (mg): | 20.6242 |  | 21.9126
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0082497 |  | 0.008765
|  | Desired Concentration (mg/mL): | 0.008
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 0.32656
|  | RSD: | 0.7514%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | each film coated tablets contains drotaverine hydrochloride 80 mg
Each Tablet contains | 80 | Drotaverine Hydrochloride 80
Average Tablet Content Weight (mg): | 310.7385
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 313.2 | 1 | 0.338 | 82.1522 | 102.6903
1st Dilution Sample Final Volume (mL): | 100 |  |  | 2 | 0.339 | 82.3953 | 102.9941
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.34 | 82.6383 | 103.2979
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 315.64 | 1 | 0.352 | 84.8936 | 106.117
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 0.35 | 84.4113 | 105.5141
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.347 | 83.6877 | 104.6097
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 10000 | Assay Smp C | 312.73 | 1 | 0.337 | 82.0323 | 102.5403
Desired Sample Weight (mg): | 310.7385 |  |  | 2 | 0.337 | 82.0323 | 102.5403
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 0.337 | 82.0323 | 102.5403
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 82.9195 | 103.6493
[5 empty] | RSD: | 1.349% | 1.349%
[5 empty] | n: | 9 | 9
Comment: | The content of | Drotaverine hydrochloride |  | in the sample as a percentage of the stated label claim is |  | 103.6493
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Drotaverine hydrochloride
Code: | D53-1
% age Purity: | 99.09
% Water content: | 2.94 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96.15
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.335 | 0.36096 | 0.362 | 0.36712
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.335 | 0.36096 | 0.359 | 0.36407 |  | 1.323%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.334 | 0.35988 | 0.359 | 0.36407
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.33467 | 0.3606 | 0.36 | 0.36509
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 21.45 |  | 22.79
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 21.45 |  | 22.79
Standard Dilution Factor | 2500 | Purity correction: | 20.6242 |  | 21.9126
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0082497 |  | 0.008765
|  | Desired Concentration (mg/mL): | 0.0088889
|  | Desired Weight as free base (mg): | 22.2222
|  | Desired Weight as salt (mg): | 22.2222
|  | Average Normalised Peak Area: | 0.36284
|  | RSD: | 0.7514%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.369 | 81.3576 | 101.697
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.359 | 79.1528 | 98.941
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.378 | 83.3419 | 104.1774
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.369 | 81.3576 | 101.697
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.377 | 83.1215 | 103.9018
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.375 | 82.6805 | 103.3506
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 81.8353 | 102.2941
Sample Dilution Factor | 9000 |  | RSD: | 1.916% | 1.916%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 79.1528 | 98.941
|  |  | Maximum: | 83.3419 | 104.1774
Comment: | The amount of | Drotaverine hydrochloride |  | dissolved as a percentage of the stated label claim is |  | 102.2941
| Range: | Minimum | 98.941 | Maximum | 104.1774
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0