## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | NOSCOR 80
% age Purity: | NDQD201708100
Weight (mg): | Drotaverine Hydrochloride 80
Standard Conc (mg/mL): | each film coated tablets contains drotaverine hydrochloride 80 mg
2017-08-02 12:44:16
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | NOSCOR 80
Laboratory Ref No: |  | NDQD201708100
Active Ingredient: |  | Drotaverine Hydrochloride 80
Label Claim: |  | each film coated tablets contains drotaverine hydrochloride 80 mg
Date Analysis Started: |  | 2017-08-02 12:44:16
Date Analysis Completed: |  | #REF!
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 309.83 | -0.1984%
|  | 312.68 | 0.7196%
|  | 307.15 | -1.062%
|  | 305.39 | -1.629%
|  | 313.18 | 0.8807%
|  | 311.19 | 0.2397%
|  | 312.04 | 0.5135%
|  | 304.6 | -1.883%
|  | 315.25 | 1.547%
|  | 314.8 | 1.402%
|  | 309.81 | -0.2049%
|  | 305.24 | -1.677%
|  | 309.79 | -0.2113%
|  | 312.7 | 0.7261%
|  | 310.22 | -0.0728%
|  | 315.01 | 1.47%
|  | 313.18 | 0.8807%
|  | 309.06 | -0.4465%
|  | 307.24 | -1.033%
|  | 310.56 | 0.03672%
| Total | 6208.92
| Average | 310.446
| Average | % Deviation from mean
| 310.446 | -5% | 294.9237
|  | 5% | 325.9683
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## droverine hydrochloride
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | NOSCOR 80
Laboratory Ref No: | NDQD201708100 | 1
Active Ingredient: | Drotaverine Hydrochloride
Label Claim: | each film coated tablets contains drotaverine hydrochloride 80 mg
Date Analysis Started: | 2017-08-03
Date Analysis Completed: | 2017-08-03
Analysis Data
Reference Substance: | DROVERINE HYDROCHLORIDE
Code: | D53-1
% age Purity: | 99.09
% Water content: | 2.94 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96.15
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.335 | 0.32486 | 0.362 | 0.3304
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.335 | 0.32486 | 0.359 | 0.32767 |  | 1.323%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.334 | 0.32389 | 0.359 | 0.32767
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.33467 | 0.32454 | 0.36 | 0.32858
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 21.45 |  | 22.79
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 21.45 |  | 22.79
Standard Dilution Factor | 2500 | Purity correction (mg): | 20.6242 |  | 21.9126
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.0082497 |  | 0.008765
|  | Desired Concentration (mg/mL): | 0.008
|  | Desired Weight as free base (mg): | 20
|  | Desired Weight as salt (mg): | 20
|  | Average Normalised Response: | 0.32656
|  | RSD: | 0.7514%
|  | n: | 6
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | each film coated tablets contains drotaverine hydrochloride 80 mg
Each Tablet contains | 80 | Drotaverine Hydrochloride
Average Tablet Content Weight (mg): | 310.446
Initial Sample dilution Volume (mL): | 200 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 2 | Assay Smp A | 311.76 | 1 | 0.34 | 82.9419 | 103.6774
1st Dilution Sample Final Volume (mL): | 100 |  |  | 2 | 0.343 | 83.6737 | 104.5922
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.339 | 82.6979 | 103.3724
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 309.48 | 1 | 0.341 | 83.7987 | 104.7483
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 0.347 | 85.2731 | 106.5914
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 0.341 | 83.7987 | 104.7483
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 10000 | Assay Smp C | 308.23 | 1 | 0.331 | 81.6711 | 102.0889
Desired Sample Weight (mg): | 310.446 |  |  | 2 | 0.331 | 81.6711 | 102.0889
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 0.329 | 81.1776 | 101.472
|  |  |  | 4 |  | - | -
[5 empty] | Average: | 82.9671 | 103.7089
[5 empty] | RSD: | 1.585% | 1.585%
[5 empty] | n: | 9 | 9
Comment: | The content of | DROVERINE HYDROCHLORIDE |  | in the sample as a percentage of the stated label claim is |  | 103.7089
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | DROVERINE HYDROCHLORIDE
Code: | D53-1
% age Purity: | 99.09
% Water content: | 2.94 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 96.15
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 2 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 100 | 1 | 0.335 | 0.36096 | 0.362 | 0.36712
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.335 | 0.36096 | 0.359 | 0.36407 |  | 1.323%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.334 | 0.35988 | 0.359 | 0.36407
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.33467 | 0.3606 | 0.36 | 0.36509
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 21.45 |  | 22.79
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 21.45 |  | 22.79
Standard Dilution Factor | 2500 | Purity correction: | 20.6242 |  | 21.9126
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.0082497 |  | 0.008765
|  | Desired Concentration (mg/mL): | 0.0088889
|  | Desired Weight as free base (mg): | 22.2222
|  | Desired Weight as salt (mg): | 22.2222
|  | Average Normalised Peak Area: | 0.36284
|  | RSD: | 0.7514%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 5 | 1 | 0.359 | 79.1528 | 98.941
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.371 | 81.7986 | 102.2482
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.368 | 81.1371 | 101.4214
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.367 | 80.9166 | 101.1458
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.373 | 82.2395 | 102.7994
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.363 | 80.0347 | 100.0434
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 80.8799 | 101.0999
Sample Dilution Factor | 9000 |  | RSD: | 1.405% | 1.405%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 79.1528 | 98.941
|  |  | Maximum: | 82.2395 | 102.7994
Comment: | The amount of | DROVERINE HYDROCHLORIDE |  | dissolved as a percentage of the stated label claim is |  | 101.0999
| Range: | Minimum | 98.941 | Maximum | 102.7994
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0