## relaxyl
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
2018-03-13 14:03:39
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Relative Retention time
1 |  |  |  |  | 1
2 |  |  |  |  | 1
3 |  |  |  |  | 1
4 |  |  |  |  | 1
5 |  |  |  |  | 1
6 |  |  |  |  | 1
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
The RRT for Trimethoprim and Sulfamethoxazole are 1.0
Analysis Data | Dissolution
Reference Substance: | Trimethoprim
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min) | Relative Retention time
1
2
3
4
5
6
Averages: | 2756934.5 | 6177.6167 | 1.2 | 5.3 | 1
RSD: | 0.3946%
n: | 6
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date |  | Signature
Analysed by: | sarah |  |  | 26-03-2017
Reviewed By: