## Amoxicillin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | ELYMOX 250 mg CAPSULES
Laboratory Ref No: | NDQF201803349 | 29
Active Ingredient: | Amoxycillin 250mg as Amoxycillin Trihydrate BP
Label Claim: | Each capsule contains: Amoxycillin Trihydrate BP equivalent to Amoxicillin 250 mg.
Date Analysis Started: | 2018-03-22 14:04
Date Analysis Completed:
Analysis Data
Reference Substance: | Amoxicillin Trihydrate
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | - |  | #DIV/0!
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 20.04 |  | 22.9
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 20.04 |  | 22.9
Standard Dilution Factor | 1 | Purity correction (mg): | 20.03 |  | 22.8885
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 20.03 |  | 22.8885
|  | Desired Concentration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 0.01
|  | Desired Weight as salt (mg): | 0.01
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains: Amoxycillin Trihydrate BP equivalent to Amoxicillin 250 mg.
Each Tablet/Capsule contains | 500 | Amoxycillin 250mg as Amoxycillin Trihydrate BP
Average Tablet/Capsule Content Weight (mg): | 0
Initial Sample dilution Volume (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg): | 0 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[5 empty] | Average: | #DIV/0! | #DIV/0!
[5 empty] | RSD: | #DIV/0! | #DIV/0!
[5 empty] | n: | 0 | 0
Comment: | The content of | Amoxycillin 250mg as Amoxycillin Trihydrate BP |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Amoxicillin Trihydrate
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.342 | 0.37494 | 0.419 | 0.37869
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.344 | 0.37713 | 0.42 | 0.37959 |  | 0.8341%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.344 | 0.37713 | 0.419 | 0.37869
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.34333 | 0.3764 | 0.41933 | 0.37899
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 5.07 |  | 6.15
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 5.07 |  | 6.15
Standard Dilution Factor | 50 | Purity correction: | 5.0675 |  | 6.1469
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.10135 |  | 0.12294
|  | Desired Concentration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.3777
|  | RSD: | 0.4398%
|  | n: | 6
Medium Volume (mL): | 900 | Capsule No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.311 | 411.7058 | 82.34%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.318 | 420.9725 | 84.19%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.348 | 460.6869 | 92.14%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.33 | 436.8583 | 87.37%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.325 | 430.2392 | 86.05%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.313 | 414.3534 | 82.87%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 429.136 | 85.83%
Sample Dilution Factor | 4500 |  | RSD: | 4.227% | 4.227%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Comment: | The amount of | Amoxycillin 250mg as Amoxycillin Trihydrate BP |  | dissolved as a percentage of the stated label claim is |  | 85.83%
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
5

## Amoxicillin-S2
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | CAREMOX - 500 CAPSULES
Laboratory Ref No: | NDQF201803355 | 11
Active Ingredient: | Amoxycillin 500mg as Amoxycillin Trihydrate BP
Label Claim: | Each capsule contains: Amoxycillin Trihydrate BP equivalent to Amoxicillin 500mg.
Date Analysis Started: | 2018-03-22 14:04
Date Analysis Completed:
Analysis Data
Reference Substance: | Amoxicillin Trihydrate
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 1 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 |  | - |  | -
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 |  | - |  | -
2nd Dilution Standard Final Volume (mL): | 1 | 3 |  | - |  | -
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg):
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 0 |  | 0
Standard Dilution Factor | 1 | Purity correction (mg): | 0 |  | 0
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0 |  | 0
|  | Desired Concetration (mg/mL): | 0.01
|  | Desired Weight as free base (mg): | 0.01
|  | Desired Weight as salt (mg): | 0.01
|  | Average Normalised Response: | #DIV/0!
|  | RSD: | #DIV/0!
|  | n: | 0
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains: Amoxycillin Trihydrate BP equivalent to Amoxicillin 500mg.
Each Tablet contains | 500 | Amoxycillin 500mg as Amoxycillin Trihydrate BP
Average Tablet Content Weight (mg):
Initial Sample dilution (mL): | 1 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL: | 1 | Assay Smp A |  | 1 |  | - | -
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B |  | 1 |  | - | -
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 |  | - | -
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 |  | - | -
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 |  | - | -
Sample Dilution Factor | 1 | Assay Smp C |  | 1 |  | - | -
Desired Sample Weight (mg) | 0 |  |  | 2 |  | - | -
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 |  | - | -
|  |  |  | 4 |  | - | -
[6 empty] | Average: | #DIV/0!
[6 empty] | RSD: | #DIV/0!
[6 empty] | n: | 0
Comment | The content of | Amoxycillin 500mg as Amoxycillin Trihydrate BP |  | in the sample as a percentage of the stated label claim is |  | #DIV/0!
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | Amoxicillin Trihydrate
Code: | WS1606019
% age Purity: | 99.89
% Water content: | 0 | If correction for water content is NOT needed please enter 0
% Purity corrected for water: | 99.89
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.368 | 0.36097 | 0.395 | 0.36133
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.367 | 0.35999 | 0.395 | 0.36133
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.37 | 0.36293 | 0.397 | 0.36316
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.36833 | 0.3613 | 0.39567 | 0.36194
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 5.67 |  | 6.08
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 5.67 |  | 6.08
Standard Dilution Factor | 50 | Purity correction (mg): | 5.6638 |  | 6.0733
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.11328 |  | 0.12147
|  | Desired Concetration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.36162
|  | RSD: | 0.3349%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.291 | 402.3606 | 80.47%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.344 | 475.6427 | 95.13%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.332 | 459.0505 | 91.81%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.328 | 453.5198 | 90.7%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.383 | 529.5674 | 105.9%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.384 | 530.95 | 106.2%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 95.04%
Sample Dilution Factor | 4500 |  |  | RSD: | 10.35%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Repeat Determination of Active Ingredient Dissolved
Reference Substance: | Amoxicillin Trihydrate
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Inj | Response: | Normalised Response: | Response: | Normalised Response:
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.305 | 0.32602 | 0.355 | 0.32348
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.306 | 0.32709 | 0.357 | 0.3253
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.304 | 0.32495 | 0.357 | 0.3253
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.305 | 0.32602 | 0.35633 | 0.32469
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 5.2 |  | 6.1
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 5.2 |  | 6.1
Standard Dilution Factor | 50 | Purity correction: | 5.1974 |  | 6.0969
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.10395 |  | 0.12194
|  | Desired Concetration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.32535
|  | RSD: | 0.3672%
|  | n: | 6
Medium Volume (mL): | 900 | tablet No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.262 | 402.6374 | 80.53%
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.253 | 388.8064 | 77.76%
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.293 | 450.2777 | 90.06%
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.284 | 436.4467 | 87.29%
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.244 | 374.9753 | 75%
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.246 | 378.0489 | 75.61%
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  |  | Average: | 81.04%
Sample Dilution Factor | 4500 |  |  | RSD: | 7.753%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | n: | 6
Analysis Data: | Dissolution Result Summary
Average: | 88.04%
RSD: | 12.2%
n: | 12
Comment | The amount of | Amoxycillin 500mg as Amoxycillin Trihydrate BP |  | dissolved as a percentage of the stated label claim is |  | 88.04%
| Name |  |  | Date |  | Signature
Analysed by: |  | RUTTO/JOYFRIDA
Reviewed By:
5