## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | PENAMOX - 500 MG
% age Purity: | NDQF201803367
Weight (mg): | Amoxicillin Trihydrate BP 500 mg
Standard Conc (mg/mL): | Amoxicillin trihydrate B.P 50O mg
2018-03-22 12:31:09
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RSD: | #DIV/0!
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Amoxicillin
National Quality Control Laboratory
Laboratory Data Calculation Spreadsheet
Please enter the required information in the cells highlighted in green
Analysis Report
Sample Name: | PENAMOX - 500 MG
Laboratory Ref No: | NDQF201803367 | 1
Active Ingredient: | Amoxicillin Trihydrate BP 500 mg
Label Claim: | Each capsule contains:Amoxycillin 500mg as Amoxycillin Trihydrate BP
Date Analysis Started: | 2018-03-22 12:31:09
Date Analysis Completed:
Analysis Data
Reference Substance: | AMOXICILLIN TRIHYDRATE
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt conversion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt conversion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 25 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 4 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 200 | 1 | 52522362 | 52297607.8007 | 53289728 | 51703244.9506
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 52553125 | 52328239.1594 | 53121237 | 51539770.079 |  | 0.9166%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 52565096 | 52340158.933 | 54057613 | 52448269.3247
3rd Dilution Standard Volume (mL: | 1 | 4 | 52522362 | 52297607.8007 | 53289728 | 51703244.9506
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 52540736.25 | 52315903.4234 | 53439576.5 | 51848632.3262
4th Dilution Standard Transfer Volume (mL): | 1 | Mass of RS (mg): | 25.12 |  | 25.78
4th Dilution Standard Final Volume (mL): | 1 | Mass of WRS as free base (mg): | 25.12 |  | 25.78
Standard Dilution Factor | 1250 | Purity correction (mg): | 25.1074 |  | 25.7671
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Concentration (mg/mL): | 0.020086 |  | 0.020614
|  | Desired Concentration (mg/mL): | 0.02
|  | Desired Weight as free base (mg): | 25
|  | Desired Weight as salt (mg): | 25
|  | Average Normalised Response: | 52082267.8748
|  | RSD: | 0.7018%
|  | n: | 8
Analysis Data | Determination of Content of Active Ingredient in the Sample
Label Claim: | Each capsule contains:Amoxycillin 500mg as Amoxycillin Trihydrate BP
Each Tablet/Capsule contains | 500 | Amoxicillin Trihydrate BP 500 mg
Average Tablet/Capsule Content Weight (mg): | 550.5
Initial Sample dilution Volume (mL): | 100 |  | Powder Weight (mg) | Injection | Response: | Determined Amt (mg) | % Assay
1st Dilution Sample transfer Volume (mL): | 1 | Assay Smp A | 90.52 | 1 | 55899703 | 13.0546 | 2.6109
1st Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 56207803 | 13.1265 | 2.6253
2nd Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54857529 | 12.8112 | 2.5622
2nd Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 55899703 | 13.0546 | 2.6109
3rd Dilution Sample Transfer Volume (mL: | 1 | Assay Smp B | 87.21 | 1 | 54374410 | 13.1803 | 2.6361
3rd Dilution Sample Final Volume (mL): | 1 |  |  | 2 | 55245409 | 13.3914 | 2.6783
4th Dilution Sample Transfer Volume (mL): | 1 |  |  | 3 | 54431185 | 13.1941 | 2.6388
4th Dilution Sample Final Volume (mL): | 1 |  |  | 4 | 54374410 | 13.1803 | 2.6361
Sample Dilution Factor | 100 | Assay Smp C | 105.17 | 1 | 63256003 | 12.7147 | 2.5429
Desired Sample Weight (mg): | 2.202 |  |  | 2 | 63562552 | 12.7764 | 2.5553
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  |  | 3 | 63968506 | 12.858 | 2.5716
|  |  |  | 4 | 63256003 | 12.7147 | 2.5429
[5 empty] | Average: | 13.0047 | 2.6009
[5 empty] | RSD: | 1.713% | 1.713%
[5 empty] | n: | 12 | 12
Comment: | The content of | AMOXICILLIN TRIHYDRATE |  | in the sample as a percentage of the stated label claim is |  | 2.6009
DISSOLUTION: | Determination of Active Ingredient Dissolved
Reference Substance: | AMOXICILLIN TRIHYDRATE
Code: | WS1606019
% age Purity: | 99.95
% Water content: | 0 | If correction for water content is not needed please enter 0
% Purity corrected for water: | 99.95
Mwt of compound in free base form: | 1 | Enter molecular mass of compound in free base form. If salt convertion is NOT needed, enter 1.
Mwt of compound in salt form: | 1 | Enter molecular mass of compound in salt form. If salt convertion is NOT needed, enter 1.
1 mg of salt is equivalent to | 1 | free base
Initial Standard dilution volume (mL): | 50 |  | Standard A |  | Standard B
1st Dilution Standard transfer Volume (mL: | 1 | Injection | Response: | Normalised Response: | Response: | Normalised Response: |  | Std Response Deviation
1st Dilution Standard Final Volume (mL): | 1 | 1 | 0.342 | 0.31112 | 0.315 | 0.30717
2nd Dilution Standard Transfer Volume (mL): | 1 | 2 | 0.339 | 0.30839 | 0.315 | 0.30717 |  | 0.9293%
2nd Dilution Standard Final Volume (mL): | 1 | 3 | 0.34 | 0.3093 | 0.313 | 0.30522
3rd Dilution Standard Volume (mL: | 1 | 4 |  | - |  | -
3rd Dilution Standard Final Volume (mL): | 1 | Average: | 0.34033 | 0.30961 | 0.31433 | 0.30652
4th Dilution Standard Transfer Volume (mL): | 1 | Amt of RS (mg): | 6.11 |  | 5.7
4th Dilution Standard Final Volume (mL): | 1 | Amt of RS as free base (mg): | 6.11 |  | 5.7
Standard Dilution Factor | 50 | Purity correction: | 6.1069 |  | 5.6972
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  | Conc (mg/mL): | 0.12214 |  | 0.11394
|  | Desired Concentration (mg/mL): | 0.11111
|  | Desired Weight as free base (mg): | 5.5556
|  | Desired Weight as salt (mg): | 5.5556
|  | Average Normalised Peak Area: | 0.30806
|  | RSD: | 0.6599%
|  | n: | 6
Medium Volume (mL): | 900 | Unit No. | Response: | Amt Released (mg): | %age Released:
1st Dilution Sample transfer Volume (mL: | 10 | 1 | 0.321 | 520.9973 | 104.1995
1st Dilution Sample Final Volume (mL): | 50 | 2 | 0.302 | 490.1595 | 98.0319
2nd Dilution Sample Transfer Volume (mL): | 1 | 3 | 0.291 | 472.306 | 94.4612
2nd Dilution Sample Final Volume (mL): | 1 | 4 | 0.297 | 482.0442 | 96.4088
3rd Dilution Sample Transfer Volume (mL: | 1 | 5 | 0.278 | 451.2064 | 90.2413
3rd Dilution Sample Final Volume (mL): | 1 | 6 | 0.283 | 459.3216 | 91.8643
4th Dilution Sample Transfer Volume (mL): | 1
4th Dilution Sample Final Volume (mL): | 1 |  | Average: | 479.3392 | 95.8678
Sample Dilution Factor | 4500 |  | RSD: | 5.196% | 5.196%
If there are no serial dilutions, or only one dilution, enter 1 in all boxes not used. |  |  | n: | 6 | 6
Range
|  |  | Minimum: | 451.2064 | 90.2413
|  |  | Maximum: | 520.9973 | 104.1995
Comment: | The amount of | AMOXICILLIN TRIHYDRATE |  | dissolved as a percentage of the stated label claim is |  | 95.8678
| Range: | Minimum | 90.2413 | Maximum | 104.1995
| Name |  |  | Date |  | Signature
Analysed by:
Reviewed By:
0