## SST
HPLC System Suitability Report
Analysis Data | Assay
Sample(s)
Reference Substance: | PANTAZOL 40mg IV INJECTION
% age Purity: | NDQQ12ALPHY
Weight (mg): | PANTOPRAZOLE
Standard Conc (mg/mL): | Each vial contains PANTOPRAZOLE 40mg
2015-04-22 10:52:05
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | 0 | 0 | 0 | 0
RSD: | 0
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
Analysis Data | Dissolution
Reference Substance:
% age Purity:
Weight (mg):
Standard Conc (mg/mL):
Injection Number | Peak Areas | Theoretical Plates (USP) | Tailing Factor (Assym) | Retention Times (min)
1
2
3
4
5
6
Averages: | 0 | 0 | 0 | 0
RSD: | 0
n: | 0
Summary: | The RSD of the peak areas for six replicate injections of SST Std is less than 2.0%.
The number of Theoretical Plates (USP) for all peaks is greater than 2000
The Assymetry of all peaks were below 2.0
| Name |  |  | Date | Signature
Analysed by:
Reviewed By:

## Uniformity
Please enter the required information in the cells highlighted in green
Uniformity of Weight Test Report
Sample Name: |  | PANTAZOL 40mg IV INJECTION
Laboratory Ref No: |  | NDQQ12ALPHY
Active Ingredient: |  | PANTOPRAZOLE
Label Claim: |  | Each vial contains PANTOPRAZOLE 40mg
Date Analysis Started: |  | 2015-04-22 10:52:05
Date Analysis Completed: |  | 0
Analysis Data |  | Uniformity of weight
|  | Tablet weight (mg) | % Deviation
|  | 710 | 19.73%
|  | 720 | 21.42%
|  | 705 | 18.89%
|  | 720 | 21.42%
|  | 710 | 19.73%
|  | 546 | -7.926%
|  | 547 | -7.757%
|  | 548 | -7.589%
|  | 549 | -7.42%
|  | 550 | -7.251%
|  | 551 | -7.083%
|  | 552 | -6.914%
|  | 553 | -6.745%
|  | 554 | -6.577%
|  | 555 | -6.408%
|  | 556 | -6.239%
|  | 557 | -6.071%
|  | 558 | -5.902%
|  | 559 | -5.734%
|  | 560 | -5.565%
| Total | 11860
| Average | 593
| Average | % Deviation from mean
| 593 | -5% | 563.35
|  | 5% | 622.65
| Name |  | Date | Signature
Analysed by:
Reviewed By:

## Relative density
Pyknometer Mass (g) | Pyknometer + Water (g) | Pyknometer + Sample (g)
9 | 10 | 11
| 12 | 13
| 14 | 15
9 | 12 | 13
Mass of Water (g): | 3
Mass of Sample (g): | 4
Relative Density of Sample: | 1.3333